TUTORIALS to illustrate use of aXis2000

File: aXis2000-tutorials.doc

Author: Adam Hitchcock

Last changed: 30-Jul-26

CONTENTS

A. Image manipulation

A.1. Reading a 532stxm image

A.2. Converting  transmission  to optical density (OD)

A.3. Determining profiles across an image

A.4. Removing noise from images

A.4.1 Replacing lines

A.4.2 Smoothing images

A.4.3 Fourier filtering images

A.4.4 Clipping  images

A.5 displaying multiple  mages

B Spectral Manipulation

B.1 Reading in a spectrum

B.1.1 Reading stxm5.3.2 multiple region spectra

B.1.2 Reading stxm7.0.1 spectra

B.2 displaying multiple  spectra

C. Linescan processing

C.1 Reading in and preparing linescan in OD

C.2 Extracting and comparing spectra

C.3 Fitting linespectra

D. Stack processing

D.1 Clean-up 5.3.2 stack data

-------------

Except for tutorial 1 where it is indicated explicitly, it is assumed the user will launch IDL/aXis2000 and terminate aXis2000/IDL at the end of a session using the following or a variant.

start IDL

start aXis2000 (if not autostart)

……. Tutorial commands

exit aXis2000

exit IDL

# A. Image manipulation

## A.1. Reading a 532stxm image

* start IDL

* aXis2000 (if IDL is not set to autostart aXis2000)

* Read~ALS-STXM-5.3.2

Browse	- select ~\ tutorials\sdf-image.hdr

OK

Notes: The image is a 30x30 micron image of a wet cross-linked gel recorded at 396 eV. The upper right portion of the image is off-the-edge of the gel, passing through 2 silicon nitride windows and about 1 micron of water.  (20320063)

## A.2. Converting  transmission  to optical density (OD)

[read in sdf-image.hdf]   - tutorial #1.

* determine average signal in ‘white’ area (no sample) by either

* move mouse over ‘white area’, read value from the cursor

-or-

* Images~Average pixels~region- all pixels

You should find a value of about 4500.

* Images~convert_to_OD

* type 4500

The OD image is computed ( = ln(4500/image); it is placed in buffer #0 – the default temporary buffer.

* Copy Buffer, click on any empty thumbnail to copy the image to a permanent buffer.

## A.3. Determining profiles across an image

[read in sdf-image.hdf]   - tutorial #1.

[convert to OD] – tutorial #2.

*Images~profiles~linear

- click at start of line, move mouse to end of line and click again

- select a buffer to store profile in; provide name if desired

- the OD intensity along the line is displayed

## A.4. Removing noise from images

### A.4.1 Replacing lines

[read in sdf-image-noisy.hdf]   - tutorial #1

* Images~Replace line

- move cursor to just above the black horizontal line.

The x, and y line number (lower left panel)  should be 11

- click mouse. Select no

- type in 2 less than the indicated number.   [10]

Line 11 is replaced by line 10 and the result moved to buffer #0.

Note in this case, using the default (average adjacent lines) would leave a distortion in the image since there are two adjacent corrupt lines

### A.4.2 Smoothing images

[read in image-to_smooth.axb using Read~images~axis]

* Filter~smooth

3- or 5-point smoothing reveals details of this image better.

### A.4.3 Fourier filtering images

[read in image-to_clean.axb using Read~images~axis]

* Filter~clean (FT image filter)

use cursor in rubber band mode (click at start, release, drag to end, click and release) to draw a rectangle top to bottom around the vertical line to the left of the central spot.

This is an image of a toner particle. The moiré pattern arises from beating of the frequency of  vibrations of  beamline optical element against the acquisition frequency.

### A.4.4 Clipping  images

[read in image-to_clip.axb using Read~images~axis]

* Images~clip signal

- a histogram of the z-values of this signal will appear. Select lower and upper bounds of data to be retained by moving mouse to lower limit of physically meaningful  data (0), click, then to upper limit (280), click.

- the pixels with values below the lower and above the upper limit are set to the closest limit and the result is placed in buffer #0.

* Copy buffer to move the result into an empty buffer

This is the  map of styrene-co-acrylonitrile  (SAN) from a fit a C 1s image sequence of a filled polyurethane. The haze which is removed is negative fit coefficients because the reference spectra are slightly wrong. Clip removes these artificial results revealing more clearly the SAN distribution.

## A.5 displaying multiple  mages

* Read~images~axis  image-to_clean.axb into buffer # 1

* Fourier filter this image to remove moiré noise (see Tutorial #A.4.4)

* Copy buffer to move the result into buffer # 2

* Add~buffer #1 with -1 weighting to buffer #2

* Copy buffer to move the difference (removed noise)  into buffer # 3

* view buffer # 1 by clicking on thumbnail #1

* Filter~smooth (3-point) the data; move to buffer #4

* Display~thumbnails~4~common scale  selecting  [1,2,3,4)

This type comparison can help decide optimum processing. Note that the lineouts are active and give quantitative signal levels of all displayed signals.

# B Spectral Manipulation

## B.1 Reading in a spectrum

### B.1.1 Reading stxm5.3.2 multiple region spectra

- start in buffer #1

* read~ALS-STXM-5.3.2 browse to select 11103106.hdr

- select all regions; OK

7 spectra will be read in. Convert selected spectra  to OD by:

- select buffer #7

* spectra~ratio_to  buffer #5 (mtx), buffer #3 (pipa), #2 (san)

* spectra~ln(y)

- after generating each spectrum, transfer it to a suitable buffer to stroe for later spectral comparison

This is a set of 7 point spectra acquired at same time on a 355 filler polyurethane sample. region 1: pipa (missed); 2, 6 - SAN, 3 - pipa;, 4 - edge of SAN, 5 - matrix, 7, hole

The points at which these spectra were obtained can be viewed by:

* read~images~other~png~image 355-point-spectra.png

images recorded before and after these point spectra:

11103104 (285 eV) - highlights SAN, PIPA

11103105 (287 eV) - only SAN

11103107 (289 eV) - convert to OD; use Z-scale to check for damage

11103108 (285 eV) - should be same as 104

### B.1.2 Reading stxm7.0.1 spectra

## B.2 displaying multiple  spectra

[ read-in and convert to optical density, regions 2,3, 5 of 11103106 ]

tutorial B.1.1

- select the SAN spectrum (buffer # 2)  (assuming converted spectra were placed in the same buffers as the transmission data)

* display~overplot~no_rescale  select buffers #3, 5

* zoom~spectra~cursor - draw box and right click to expand the region between 282 and 292 eV which shows the chemically sensitive features

# C. Linescan processing

## C.1 Reading in and preparing linescan in OD

## C.2 Extracting and comparing spectra

### C.3 Fitting linespectra

D. Composite processing

#### D.1 Cleaning up 5.3.2 stack data

- Generate stack as a binary file (*.ncb - * = 'stack' below) - Read~als stxm-5.3.2 converts directly.

- read (stack.ncb) stacks~stack_analyze~axis binary

- Select a region (do this to sensitize the write dialog)

- Type a temporary file name - I use "0" since this puts files at top of the directory

- Wriite out all images as *.nc  (Image ".nc" - option 2 - all files)

- Scan through each image in the stack in the Stack Analyze window. Every time you see one with a horizontal stripe .... let's say image 021 . . . .

- Go to aXis2000 window and read the corresponding 0_021.nc  file using read~image~nsls~old (*.nc)

- Use image~replace line to correct those horizontal lines (replace with average above/below (default) or the one above (second default) or the user selected line (third option)

- write~nsls image to re-write the corrected image as 0_021.nc (overwrite)

- (repeat 7-9 for each distorted image in the stack)

- If there are too many lines with bad data, or an image shift, remove that file from the list by editing the 0.sl stack list file with any text editor to delete the name of the appropriate file

- After correcting all the images you wish, and editing the *.sl to delete images, use

- stacks~stack_analyze~axis to read in the set of o_*.nc files (from the 0.sl file, as with nsls stacks).

- Write out the corrected stack as a binary file.

- continue to process in the usual manner - Io correct, align if needed etc.