Standard Operating Procedure

________________________________________________________

Read the EH&S Standard Operating Procedures Fact Sheet before filling out this form. Print out the completed form and keep a readily accessible hard copy in the lab (also keeping an electronic copy is highly recommended).

______________________________________________________

Date: 			3/9/10

SOP Title:  		Fluorides (HF etc.)

Principal Investigator:  	Richmond Sarpong

Room and Building:  	841A Latimer Hall

Lab Phone Number:	(510) 643-2485

Section 1 – Process

The use of fluoride reagents, specifically hydrofluoric acid.

Section 2 – Hazardous Chemicals

HF is a colorless liquid with a strong irritating odor at low concentrations (3 ppm). Employees who handle HF must receive documented training on the hazards of HF and what to do in the event of an exposure or a spill. A Material Safety Data Sheet (MSDS) on HF should always be kept in the immediate work area where HF is used. The MSDS, together with this Fact Sheet, is an excellent basis for training employees on the hazards of HF. Hydrofluoric acid (HF) is an extremely corrosive acid used for many purposes including mineral digestion, surface cleaning, etching, and biological staining. HF’s unique properties make it significantly more hazardous than many of the other acids used on campus. This fact sheet discusses how to protect yourself against the dangers of HF. Please post these procedures wherever HF is used or handled. The health hazards of HF are dependent upon the type of exposure and the concentration. Many chemicals containing fluorine, such as ammonium fluoride, sodium fluoride, sulfur tetrafluoride, and ammonium bifluoride, may react with acid or water to produce HF. Review the MSDS of all fluoride compounds carefully for safety precautions to reduce the risk of creating a HF hazard. If the manner in which the fluorine compound is used can create HF, follow the precautions for HF and keep topical antidote on hand.

Section 3 – Potential Hazards

Eye and skin exposure HF is corrosive and readily destroys tissue. Exposure of the eyes to HF may result in blindness or permanent eye damage. HF readily penetrates human skin, allowing it to destroy soft tissues and decalcify bone. Chemical burns from HF are typically very painful and slow to heal. Skin exposure to high concentrated HF (approximately 50% or greater) immediately results in serious and painful destruction of tissue. Not only can skin contact cause burns, but systemic fluoride poisoning may also result. One of HF’s most insidious properties is that skin contact at lower concentrations may not produce pain or burning sensations until hours after the exposure. Because of the ability of HF to produce severe delayed tissue damage without necessarily producing pain, all skin, eye, or tissue contact with HF should receive immediate first aid and medical evaluation, even if the injury appears minor or no pain is felt. Inhalation of HF vapor Inhaling HF vapors can seriously damage the lungs. Delayed reactions up to and including fatal pulmonary edema (flooding of the lungs with body fluids) may not be apparent for hours after the initial exposure. Airborne concentrations of 10 to 15 ppm will irritate the eyes, skin, and respiratory tract. Thirty ppm is considered immediately dangerous to life and health and may have irreversible health effects. At airborne concentrations above 50 ppm, even brief exposure may be fatal. Chronic HF exposure Long-term or chronic exposure to HF may result in fluorosis, a syndrome characterized by weight loss, bone embrittlement, anemia, and general ill health.

Section 4 – Approvals Required

Use of fluoride reagents requires proper training and demonstration of correct technique by an appropriate lab member.

Section 5 – Designated Area

Fluoride reagents should only be used in a fume hood with a safety shower and eye wash station close by.

Section 6 – Special Handling Procedures and Storage Requirements

Clear all areas where the reagent will be opened prior to use. Do not use any fluorides reagent like HF while working alone. Safe Work Practices 1. Do not eat, smoke, or drink where HF is handled, since the chemical can be swallowed. Wash hands thoroughly after handling HF. 2. All lab personnel, not just those who will be using Hydrofluoric Acid, should be informed of the dangers of this chemical and the emergency procedures necessary in case of an accident. A sign should be posted to alert people that work with Hydrofluoric Acid is in progress. 3. All persons who will be using Hydrofluoric Acid must be made aware of its properties and trained in proper procedures for use and disposal. 4. Laboratories which keep or use Hydrofluoric Acid gas or concentrated solutions (>1% Hydrofluoric Acid) should have these emergency procedures on hand as well as an MSDS. 5. Laboratories which keep or use Hydrofluoric Acid gas or concentrated solutions (>1% Hydrofluoric Acid) must have an operational safety shower and eyewash in their laboratory. Before beginning any procedure involving Hydrofluoric Acid, make sure the access to the emergency shower and eyewash is unobstructed. 6. A small supply of calcium carbonate or calcium hydroxide for spills should also be kept near the hood where the work will be conducted. If a small quantity (100 mL or less) of dilute Hydrofluoric Acid solution is spilled, clean it up by applying powdered calcium carbonate or calcium hydroxide, or use a commercial Hydrofluoric Acid spill kit. Call EH&S to dispose of the residue. If a larger amount is spilled, or the acid is concentrated, contain the spill as best you can, evacuate the area, and call 911. Avoid exposure to the vapors. 7. Dispose of unwanted hydrofluoric acid by completing a request for waste disposal and submitting it to EH&S. 8. Always use the appropriate PPE and engineering controls when working with hydrofluoric acid or >1% HF solutions. 9. Store all HF and HF waste in labeled chemically compatible containers (e.g., polyethylene or Teflon). Glass, metal, and ceramic containers are not compatible with HF. HF should never be stored with incompatible chemicals such as ammonia or other alkaline materials. Always place HF on a low protected shelf or other location where it will not be accidentally spilled or knocked over

Section 7 – Personal Protective Equipment

Eye Protection Always use chemical splash goggles together with a face shield when handling concentrated HF. Due to HF’s highly corrosive nature, safety glasses with side shields do not provide adequate eye protection. Body Protection Wear a laboratory coat with a chemical splash apron made out of natural rubber, neoprene, or viton. Never wear shorts or open-toed shoes when handling HF or other corrosive chemicals. Gloves Typically, medium or heavyweight viton, nitrile, or natural rubber gloves are worn when working with HF. Always consult the manufacturer’s glove selection guide when selecting a glove for HF. A second pair of nitrile exam gloves should be worn under the gloves for protection against leaks. Gloves that have not been contaminated with HF may be disposed of in the common trash. If gloves become contaminated with HF, remove them immediately, thoroughly wash your hands, and check your hands for any sign of contamination. Contaminated gloves must be disposed of as HF waste (see“Spill, Storage, and Waste Issues” section) Eyewash and Shower Since HF is corrosive and rapidly damages tissue, an eyewash and shower must be nearby and accessible. Each must be tested monthly to ensure it will operate when needed. Eye exposure: Immediately irrigate eyes at eyewash for at least 15 minutes with copious quantities of water keeping eyelids apart and away from eyeballs. Do not apply calcium gluconate gel to eyes. In all cases of eye exposure seek prompt medical attention. Skin Exposure: Immediately wash affected area of skin at sink if a small area of hand or forearm has been contaminated or at a drench shower if upper arms, torso, or legs are contaminated. If calcium gluconate gel is readily available, limit rinsing to 5 minutes so that application can be quickly initiated to limit the migration of the fluoride ion. Reapply and massage calcium gluconate gel into affected area of skin every 15 minutes. If calcium gluconate gel is not available rinse skin for a minimum of 15 minutes. Remove all contaminated clothing and place in hood or plastic bag. In all cases of skin exposure seek prompt medical attention. Ingestion: Drink large amounts of water to dilute. Do not induce vomiting. Several glasses of milk or several ounces of milk of magnesia may be given for their soothing effect. In all cases of ingestion seek prompt medical attention. Inhalation: Move victim to fresh air. In all cases of overexposure through inhalation seek prompt medical attention.

Section 8 – Engineering/Ventilation Controls

Ventilation HF should be used with adequate ventilation to minimize inhalation of vapor. Concentrations greater than 5% should always be handled inside a properly functioning chemical fume hood. The chemical fume hood needs to have a current calibration sticker (within 1 year).

Section 9 – Spill and Accident Procedures

If HF is spilled outside a chemical hood, evacuate the area, close the doors, post the area with a sign to prevent others from entering, and call EH&S and Campus Safety. (Emergencies: 911 or 642-3333 from a cell phone; Non-emergencies: EH&S 642-3073, UCPD 642-6760). Small spills of HF inside a chemical fume hood can be cleaned up by laboratory staff if they have received spill clean up training from EH&S, have the correct equipment, understand the hazards, and are confident in their ability to clean up the spill safely and dispose of the waste properly. Lime, soda ash, sodium bicarbonate, or a spill absorbent specified for HF should be used for clean up. Organic spill kits that contain Floor-Dri, kitty litter, or sand should NOT be used because HF reacts with silica to produce silicon tetrafluoride, a toxic gas. 1. Slowly apply solid calcium carbonate from the perimeter of the spill, inward. When the hydrofluoric acid has been absorbed, mix thoroughly with a plastic scoop. Note: The quantity of neutraliser will vary with the concentration of the acid. 2. Add a scoopful (about 5 mL) of the mixture to about 100mL of water. 3. Test the pH with pH paper. When the pH is between 7 and 10, scoop the neutralised material into a plastic container of water. 4. Let stand until the white solid settles out of solution. Decant the solution to the drain with at least 50 volumes of water. 5. Package the solid residue in a plastic bag, seal and label.

Section 10 – Waste Disposal

HF waste should be placed in a chemically compatible container with a sealed lid and clearly labeled. Contact EH&S for pickup.

Section 11 - Decontamination

Remove all contaminated clothing, wash all contaminated skin with copious amounts of water.

Section 12 – Process Steps

| Process Steps | Safety Measures |
| --- | --- |